## Slide 1: Case Study #3: Susie Ho Monash University (Australia) Dickson Ho Monash University (Australia) UNEP intern

## Slide 2
Notes: We were the first university to set an energy reduction target bac in 2005.
In 2017 Monash Committed to Net Zero emissions by 2030.

## Slide 3
Net Zero Emissions - Implementation Plan
ENERGY
EFFICIENCY
CAMPUS
ELECTRIFICATION
ON-SITE
RENEWABLES
Reduce energy
Consumption
Lighting
Façade
Appliances
Thermal Plant
Bldg Optimisation
OFF-SITE
RENEWABLES
Electricity becomes
our total energy
Consumption
Heat pumps replace gas boilers
Thermal Precincts
▪
Power Purchase
Agreement
NET ZERO READY
BUILDINGS
Net zero ready buildings
All electric
High performance building envelope
Maximise on-site
solar generation
Rooftop solar PV
Solar thermal
Purchase off-site
renewable energy
INTELLIGENT
ENERGY NETWORK
Controls
Micro-grid
Battery Storage
OFFSET
RESIDUAL
EMISSIONS
Offset residual
Emissions
Green Power
Carbon offsets
Notes: We have an ambitious strategy which are on track to deliver.

## Slide 4
Thermal Plant
  New builds incorporating all-electric thermal plant
  Stage 1 - Electrification of Clayton Medicine, Engineering and Science precincts
EV Charging
3 x EV chargers installed at Clayton Campus
Broader rollout (on other campuses) currently being planned
Campus Electrification
Building Optimisation
  3 year building optimization program (24 buildings)
LED Lighting Upgrades
  16, 500 fixtures at end of 2018;
  43,000 by 2020, 45 Buildings
Energy Efficiency